## 入札書
入 札 書
見 積 書
金額￥ | （税抜）
品 名 | 規 格 | 単 位 |  | 数 量 |  | 単 価 |  | 金 額
１３号建物空調機洗浄役務 | 仕様書のとおり | ST |  | 1
|  | ―以下 |  | 余白―
納 入 場 所 | 陸上自衛隊座間駐屯地 |  |  |  | 納期 |  | 契約日～ 令和８年９月３０日
入札（契約）保証金 | 免 除 |  | 入札（見積）書有効期間
上記の公告又は通知に対して「入札及び契約心得」及び「標準契約書等」 の契約条項等を承諾の上、入札見積いたします。 また、当社（私（個人の場合）、当団体（団体の場合））は「入札及び契約心得」に示された暴力団排除に関する誓約事項について誓約いたします。
2026-08-05
分任契約担当官
陸上自衛隊座間駐屯地
第４４１会計隊長 佐野 任治 殿
住 所
会 社 名
代表者名
担当者名
連 絡 先
計

## 市価調査書
市 価 調 査 書
年 月 日
分任契約担当官陸上自衛隊座間駐屯地
| 第441会計隊長 佐野 任治 | 殿 | 住 所
社 名
| ￥ |  | 代表者名
担当者名
| 下記により下見積致します。 |  | 連絡先
№ | 品 名 | 規 格 | 単 位 | 数 量 | 単 価 | 金 額 | 備 考
1 | １３号建物空調機洗浄役務 | 仕様書のとおり | ST | 1
―以下余白―
令和８年８月３日（月）の１７時までに送信いただけますよう、ご協力お願いします。
（税抜）

## 積算 (hidden)
直だき吸収冷温水機点検保守積算価格内訳書
1」
工 事 項 目 |  | メーカー・規格等 |  |  | 数量 | 点検 | 歩掛け |  |  |  | 労務単価 |  |  |  | 金 額 | 備 考 | 歩掛け
[6 empty] | 周期 | 保全技師Ⅱ | 保全技師補 | 保全技術員 | 保全技術員補 | 保全技師Ⅱ | 保全技師補 | 保全技術員 | 保全技術員補 |  |  | 保全技師Ⅱ | 保全技師補 | 保全技術員 | 保全技術員補
1 | 直だき吸収冷温水機 (J-13) | 川重冷熱工業㈱ ∑TZG-100LP5C |  | イン | 1 | 2
| インヒビターの点検調整 |  |  |  | 1
| ストレナー点検整備槽内・Y形 |  |  |  | 2
| 操作盤マイコン盤内の データ確認及び調整 |  |  |  | 2
| 中央監視装置・自動制御 動作確認点検 |  |  |  | 1
2 | 冷却塔 (J-13) | 空研工業㈱ SKB-92GR |  | イン | 1 | 1
|  |  |  | オフ | 1 | 1
3 | 直だき吸収冷温水機 (J-14・１号機) | 川重冷熱工業㈱ ∑TUC-100DN5C |  | イン | 1 | 2
| インヒビターの点検調整 |  |  |  | 1
| ストレナー点検整備槽内・Y形 |  |  |  | 2
| 操作盤マイコン盤内の データ確認及び調整 |  |  |  | 2
| 中央監視装置・自動制御 動作確認点検 |  |  |  | 1
4 | 直だき吸収冷温水機 (J-14・２号機) | 川重冷熱工業㈱ ∑TUC-100DN5C |  | イン | 1 | 2
| インヒビターの点検調整 |  |  |  | 1
| ストレナー点検整備槽内・Y形 |  |  |  | 2
| 操作盤マイコン盤内の データ確認及び調整 |  |  |  | 2
| 中央監視装置・自動制御 動作確認点検 |  |  |  | 1
5 | 冷却塔 (J-14) | 空研工業㈱ SKB-102GR |  | イン | 2 | 1
|  |  |  | オフ | 2 | 1
6 | 直だき吸収冷温水機 （J-11) | 矢崎エナジーシステム㈱ ＣＨ－ＫＧ６０Ｕ３３ |  | イン | 1 | 2
| インヒビターの点検調整 |  |  |  | 1
| ストレナー点検整備槽内・Y形 |  |  |  | 2
| 操作盤マイコン盤内の データ確認及び調整 |  |  |  | 2
| 中央監視装置・自動制御 動作確認点検 |  |  |  | 1
7 | 冷却塔 （J-11) | エバラ冷熱システム ＳＤＷ－Ｕ６０ＡＳＤ |  | イン | 1 | 1
|  |  |  | オフ | 1 | 1
8 | 交換部品(J-11)
| ZインヒビターDセット (水素抑制剤：080198010B) |  |  |  | 2
| 点火ロッド (テクノ矢崎製：7NXEC3001440) |  |  |  | 2
| 点火ロッド電線 (テクノ矢崎製：7NXEE3001440) |  |  |  | 2
| フレームロッド (テクノ矢崎製：7NXXE3013300) |  |  |  | 2
| フレームロッド電線 (テクノ矢崎製：08KB3002050) |  |  |  | 2
| フレームロッドアース電線 (テクノ矢崎製：7NXEE3001350) |  |  |  | 2
| 点火トランス (テクノ矢崎製：7NXEE300143A) |  |  |  | 2
| 冷却ファン (CB用：7ROZ142560A) |  |  |  | 2
9 | 交換部品交換作業費(J-11)
| 水素抑制剤投入作業費 |  |  |  | 1
| 交換部品交換作業費 |  |  |  | 1
| 消耗品・工具損料 |  |  |  | 1
| 運搬交通費 |  |  |  | 1
| 諸経費 |  |  |  | 1
10 | 交換部品(J-13・J-14)
| パラジウムセル (川重冷熱製：pd6型) |  |  |  | 3
| パラジウムセル用カートリッジヒータ (川重冷熱：φ14*L70 200V/30W SE-105-821) |  |  |  | 3
| CPU基板 (川重冷熱製：KTE-CPU-P03R) |  |  |  | 3
| バッテリー (川重冷熱製：ER17505 3.6V) |  |  |  | 3
| 火炎検出器 (川重冷熱製：C7035A1064/U) |  |  |  | 3
| 窒素ガス(7㎥) |  |  |  | 1
11 | 交換部品交換作業費 (J-13・J-14)
| ケーシング・保温等取外し及び取付け |  |  |  | 1
| 窒素ガス封入・気密テスト・ 真空引き及び防錆塗装 |  |  |  | 1
| パラジウムセル他取替 |  |  |  | 1
| 消耗品・工具損料 |  |  |  | 1
| 運搬交通費 |  |  |  | 1
| 諸経費 |  |  |  | 1
12 | 冷温水配管系統 Y型ストレーナ清掃作業
J-1 1階機械室
| ８０Ａ |  |  |  | 2
| ６５Ａ |  |  |  | 2
| ５０Ａ |  |  |  | 1
| ４０Ａ |  |  |  | 1
J-11 1階機械室
| ６５Ａ |  |  |  | 2
J-13 B1階機械室
| １２５Ａ |  |  |  | 2
| ８０Ａ |  |  |  | 2
| ６５Ａ |  |  |  | 2
| ５０Ａ |  |  |  | 2
| ４０Ａ |  |  |  | 2
| ３２Ａ |  |  |  | 2
J-14 B1階機械室
| １２５Ａ |  |  |  | 2
| １００Ａ |  |  |  | 1
| 消耗品・工具損料 |  |  |  | 1
| 運搬交通費 |  |  |  | 1
| 諸経費 |  |  |  | 1
13 | 諸経費 |  |  |  | 1
14 | 保全技術員及び 技術員補 計
15 |  | 計

## 積算② (hidden)
名称 |  | 摘要 | 数量 | 金額 | 備考
1 | 直だき吸収冷温水機 (J-13)
| インヒビターの点検調整 |  | 1 | 0
| ストレナー点検整備槽内・Y形 |  | 2 | 0
| 操作盤マイコン盤内の データ確認及び調整 |  | 2 | 0
| 中央監視装置・自動制御 動作確認点検 |  | 1 | 0
| 計 |  |  | 0
2 | 直だき吸収冷温水機 (J-14・１号機) |  |  |  |  | #REF!
| インヒビターの点検調整 |  | 1 | 0
| ストレナー点検整備槽内・Y形 |  | 2 | 0
| 操作盤マイコン盤内の データ確認及び調整 |  | 2 | 0
| 中央監視装置・自動制御 動作確認点検 |  | 1 | 0
| 計 |  |  | 0
3 | 直だき吸収冷温水機 (J-14・２号機) |  |  |  |  | #REF!
| インヒビターの点検調整 |  | 1 | 0
| ストレナー点検整備槽内・Y形 |  | 2 | 0
| 操作盤マイコン盤内の データ確認及び調整 |  | 2 | 0
| 中央監視装置・自動制御 動作確認点検 |  | 1 | 0
| 計 |  |  | 0
4 | 直だき吸収冷温水機 （J-11) |  |  |  |  | 0
| インヒビターの点検調整 |  | 1 | 0
| ストレナー点検整備槽内・Y形 |  | 2 | 0
| 操作盤マイコン盤内の データ確認及び調整 |  | 2 | 0
| 中央監視装置・自動制御 動作確認点検 |  | 1 | 0
| 計 |  |  | 0
5 | 交換部品(J-11)
| ZインヒビターDセット (水素抑制剤：080198010B) |  | 2 | 0
| 点火ロッド (テクノ矢崎製：7NXEC3001440) |  | 2 | 0
| 点火ロッド電線 (テクノ矢崎製：7NXEE3001440) |  | 2 | 0
| フレームロッド (テクノ矢崎製：7NXXE3013300) |  | 2 | 0
| フレームロッド電線 (テクノ矢崎製：08KB3002050) |  | 2 | 0
| フレームロッドアース電線 (テクノ矢崎製：7NXEE3001350) |  | 2 | 0
5 | 点火トランス (テクノ矢崎製：7NXEE300143A) |  | 2 | 0
| 冷却ファン (CB用：7ROZ142560A) |  | 2 | 0
| 計 |  |  | 0
6 | 交換部品交換作業費(J-11)
| 水素抑制剤投入作業費 |  | 1 | 0
| 交換部品交換作業費 |  | 1 | 0
| 消耗品・工具損料 |  | 1 | 0
| 運搬交通費 |  | 1 | 0
| 諸経費 |  | 1 | 0
| 計 |  |  | 0
7 | 交換部品(J-13・J-14) |  |  |  |  | フレームロッド (テクノ矢崎製：7NXXE3013300)
| パラジウムセル (川重冷熱製：pd6型) |  | 3 | 0
| パラジウムセル用カートリッジヒータ (川重冷熱：φ14*L70 200V/30W SE-105-821) |  | 3 | 0
| CPU基板 (川重冷熱製：KTE-CPU-P03R) |  | 3 | 0
| バッテリー (川重冷熱製：ER17505 3.6V) |  | 3 | 0
| 火炎検出器 (川重冷熱製：C7035A1064/U) |  | 3 | 0
| 窒素ガス(7㎥) |  | 1 | 0
| 計 |  |  | 0
8 | 交換部品交換作業費 (J-13・J-14)
| ケーシング・保温等取外し及び取付け |  | 1 | 0
| 窒素ガス封入・気密テスト・ 真空引き及び防錆塗装 |  | 1 | 0
| パラジウムセル他取替 |  | 1 | 0
| 消耗品・工具損料 |  | 1 | 0
| 運搬交通費 |  | 1 | 0
| 諸経費 |  | 1 | 0
| 計 |  |  | 0
9 | 冷温水配管系統 Y型ストレーナ清掃作業 |  |  |  |  | 消耗品・工具損料
J-1 1階機械室
| ８０Ａ |  | 2 | 0
| ６５Ａ |  | 2 | 0
| ５０Ａ |  | 1 | 0
| ４０Ａ |  | 1 | 0
J-11 1階機械室
| ６５Ａ |  | 2 | 0
| J-13 B1階機械室 |  | 0
| １２５Ａ |  | 2 | 0
| ８０Ａ |  | 2 | 0
| ６５Ａ |  | 2 | 0
| ５０Ａ |  | 2 | 0
| ４０Ａ |  | 2 | 0
9 | ３２Ａ |  | 2 | 0
J-14 B1階機械室
| １２５Ａ |  | 2 | 0
| １００Ａ |  | 1 | 0
| 消耗品・工具損料 |  | 1 | 0
| 運搬交通費 |  | 1 | 0
| 諸経費 |  | 1 | 0
10 | 計 |  |  | 0
11 | 直接人件費
業務価格 合計 |  |  |  |  | 10+11
業務価格（端数処理）
消費税等相当額 |  |  | 10%
保全業務費

## 工事別内訳書 (hidden)
内訳書
空調機借上げ | [7 empty] | 借上げ日数
名 称 |  | 規格 | 数量 | 単位 | 単価 | 金額 | 備考 | ４月 | 16
| ファンコイルバルブ | ２０Ａ | 182 | 個 |  |  |  | ５月 | 31
| ファンコイルバルブ | ２０Ａ 流量調整用 | 91 | 個 |  |  |  | ６月 | 30
| フレキシブル | ２０Ａ | 182 | 個 |  |  |  | ７月 | 14
| ファンコイル交換 |  | 91 | 式
| 配管工事 |  | 91 | 式
| 保温工事 | ＡＬＧＣ | 91 | 式
| 仮設養生費 |  | 1 | 式
| 仮設足場費 |  | 1 | 式
| 産業廃棄物処分費 |  | 1 | 式
| 雑材消耗品 |  | 1 | 式
| 交通運搬費 |  | 1 | 式
| 現場管理費 |  | 1 | 式
| 諸経費 |  | 1 | 式
合 計 | [7 empty] | 計 | 91

## Sheet1 (3) (hidden)
入 札 書
見 積 書
金額￥ | （税抜）
品 名 | 規 格 | 単位 |  | 数 量 |  | 単 価 |  | 金 額
軟水カートリッジ交換 | 仕様書のとおり | ST |  | 1 |  |  |  |  | 0
|  | ー以下 |  | 余白ー
納 入 場 所 | 陸上自衛隊座間駐屯地 |  |  |  | 納期 |  | 令和７年１２月１９日～ 令和８年３月３１日
入札（契約）保証金 | 免 除 |  | 入札（見積）書有効期間
上記の公告又は通知に対して「入札及び契約心得」及び「標準契約書等」 の契約条項等を承諾の上、入札見積いたします。 また、当社（私（個人の場合）、当団体（団体の場合））は「入札及び契約心得」に示された暴力団排除に関する誓約事項について誓約いたします。
2025-12-19
分任契約担当官
陸上自衛隊座間駐屯地
第４４１会計隊長 平岡 風河 殿
住 所
会 社 名
代表者名
担当者名
連 絡 先

## 下見積 (4) (hidden)
|  | 市 価 調 査 書 |  |  |  | 年 月 日
分任契約担当官陸上自衛隊座間駐屯地
| 第441会計隊長 平岡 風河 | 殿 | 住 所 | [6 empty] | 相模原市中央区相模原4-1-16 | 相模原市中央区相模原4-1-2
|  |  | 社 名 | [6 empty] | 東横INNJR横浜線相模原駅前 | ホテルクラウンヒルズ相模原
| ￥ |  | 代表者名 | [6 empty] | 支配人 貴田 香織 | 支配人 藪内 一剛
|  |  | 担当者名 | [6 empty] | 鈴木柚香 | 0
| 下記により下見積致します。 |  | 連絡先 | [6 empty] | 042-862-1045 | 042-769-1100
№ | 品名 | 規格 | 単位 | 数量 | 単 価 | 金 額 | 備考 | その他 | 発注から納品までの期間 | 55750
1 | 軟水カートリッジ交換 | 仕様書のとおり | ST | 1 |  |  | #REF! | 228 |  | 11180
[7 empty] | #REF! | 290 |  | 33390
[7 empty] | #REF! | #REF! |  | 11180
| 合 計 | [5 empty] | #REF! | 514
[7 empty] | #REF! | 521
[7 empty] | #REF! | 527
|  | あて先 契約班 金杉 |  |  |  |  | #REF! | 718
| #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 787
| #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 396
| #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 396
| #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 396
76 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 298
77 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 708
78 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 706
79 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 738
80 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 738
81 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 738
82 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
83 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
87 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
88 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
89 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
90 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
91 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
92 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
93 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
94 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
95 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
96 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
97 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 247
98 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 247
99 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 247
100 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
小 計
101 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
102 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
103 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
104 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
105 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
106 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
107 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
108 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
109 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
110 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
111 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
112 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
113 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
114 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
115 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
116 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
117 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
118 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
119 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
120 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
121 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
122 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
123 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
124 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
125 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
小 計
126 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
127 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
128 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
129 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 250
130 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 248
131 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 331
132 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 315
133 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 315
134 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 155
135 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 320
136 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 373
137 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 615
138 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
139 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
140 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
141 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
142 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
143 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
144 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
145 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
146 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
147 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
148 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
149 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
150 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
小 計
151 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 620
152 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 620
153 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 320
154 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 527
155 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 630
156 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 266
157 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 267
158 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 591
159 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 241
160 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 40
161 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 591
162 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 591
163 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 592
164 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 566
165 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 42
166 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
167 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 418
168 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 547
169 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 547
170 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 522
171 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 316
172 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 620
173 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 342
174 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 374
175 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 403
小 計
176 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 527
177 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 555
178 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 761
179 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 1059
180 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
181 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | 228
182 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
183 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
184 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
185 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
186 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
187 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
188 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
189 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
190 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
191 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
192 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
193 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
194 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
195 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
196 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
197 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
198 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
199 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
200 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
小 計
201 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
202 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
203 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
204 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
205 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
206 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
207 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
208 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
209 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
210 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
211 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
212 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
213 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
214 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
215 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
216 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
217 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
218 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
219 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
220 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
221 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
222 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
223 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
224 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
225 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
小 計
226 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
227 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
228 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
229 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
230 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
231 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
232 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
233 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
234 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
235 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
236 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
237 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
238 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
239 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
240 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
241 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
242 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
243 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
244 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
245 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
246 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
247 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
248 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
249 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
250 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
小 計
251 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
252 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
253 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
254 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
255 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
256 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
257 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
258 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
259 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
260 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
261 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
262 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
263 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
264 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
265 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
266 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
267 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
268 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
269 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
270 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
271 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
272 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
273 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
274 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
275 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
小 計
276 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
277 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
278 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
279 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
280 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
281 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
282 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
283 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
284 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
285 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
286 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
287 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
288 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
289 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
290 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
291 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
292 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
293 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
294 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
295 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
296 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
297 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
298 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
299 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
300 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
小 計
301 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
302 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
303 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
304 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
305 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
306 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
307 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
308 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
309 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
310 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
311 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
312 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
313 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
314 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
315 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
316 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
317 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
318 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
319 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
320 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
321 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
322 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
323 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
324 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
325 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
計
326 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
327 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
328 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
329 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
330 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
331 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
332 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
333 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
334 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
335 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
336 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
337 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
338 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
339 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
340 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
341 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
342 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
343 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
344 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
345 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
346 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
347 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
348 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
349 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
350 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
計
351 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
352 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
353 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
354 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
355 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
356 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
357 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
358 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
359 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
360 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
361 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
362 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
363 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
364 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
365 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
366 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
367 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
368 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
369 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
370 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
371 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
372 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
373 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
374 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
375 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
計
376 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
377 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
378 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
379 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
380 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
381 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
382 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
383 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
384 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
385 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
386 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
387 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
388 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
389 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
390 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
391 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
392 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
393 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
394 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
395 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
396 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
397 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
398 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
399 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
400 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
計
401 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
402 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
403 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
404 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
405 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
406 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
407 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
408 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
409 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
410 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
411 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
412 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
413 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
414 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
415 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
416 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
417 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
418 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
419 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
420 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
421 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
422 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
423 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
424 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
425 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
（税抜）

## 下見積 (2) (hidden)
|  | 市 価 調 査 書 |  |  |  | 年 月 日
| 分任契約担当官陸上自衛隊座間駐屯地 |  | 住 所
| 第441会計隊長 平岡 風河 | 殿 | 社 名
代表者名
担当者
|  |  | 連絡先 | [6 empty] | 0
￥
下記により下見積致します。
№ | 品名 | 規格 | 単位 | 数量 | 単 価 | 金 額 | 備考 | その他 | 備考
1 | [6 empty] | #REF! | 228
①
②
③
④
⑤
⑥
| 合 計 | [6 empty] | 726
|  | あて先 契約班 金杉 | [5 empty] | 718
787
396
396
396
76 | [7 empty] | 298
77 | [7 empty] | 708
78 | [7 empty] | 706
79 | [7 empty] | 738
80 | [7 empty] | 738
81 | [7 empty] | 738
82 | [7 empty] | 248
83 | [7 empty] | 248
84 | [7 empty] | 248
85 | [7 empty] | 248
86 | [7 empty] | 248
87 | [7 empty] | 248
88 | [7 empty] | 248
89 | [7 empty] | 248
90 | [7 empty] | 248
91 | [7 empty] | 248
92 | [7 empty] | 248
93 | [7 empty] | 248
94 | [7 empty] | 248
95 | [7 empty] | 248
96 | [7 empty] | 248
97 | [7 empty] | 247
98 | [7 empty] | 247
99 | [7 empty] | 247
100 | [7 empty] | 250
小 計
101 | [7 empty] | 250
102 | [7 empty] | 250
103 | [7 empty] | 250
104 | [7 empty] | 250
105 | [7 empty] | 250
106 | [7 empty] | 250
107 | [7 empty] | 250
108 | [7 empty] | 250
109 | [7 empty] | 250
110 | [7 empty] | 250
111 | [7 empty] | 250
112 | [7 empty] | 250
113 | [7 empty] | 250
114 | [7 empty] | 250
115 | [7 empty] | 250
116 | [7 empty] | 250
117 | [7 empty] | 250
118 | [7 empty] | 250
119 | [7 empty] | 250
120 | [7 empty] | 250
121 | [7 empty] | 250
122 | [7 empty] | 250
123 | [7 empty] | 250
124 | [7 empty] | 250
125 | [7 empty] | 250
小 計
126 | [7 empty] | 250
127 | [7 empty] | 250
128 | [7 empty] | 250
129 | [7 empty] | 250
130 | [7 empty] | 248
131 | [7 empty] | 331
132 | [7 empty] | 315
133 | [7 empty] | 315
134 | [7 empty] | 155
135 | [7 empty] | 320
136 | [7 empty] | 373
137 | [7 empty] | 615
138 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
139 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
140 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
141 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
142 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
143 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
144 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
145 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
146 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
147 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
148 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
149 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
150 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
小 計
151 | [7 empty] | 620
152 | [7 empty] | 620
153 | [7 empty] | 320
154 | [7 empty] | 527
155 | [7 empty] | 630
156 | [7 empty] | 266
157 | [7 empty] | 267
158 | [7 empty] | 591
159 | [7 empty] | 241
160 | [7 empty] | 40
161 | [7 empty] | 591
162 | [7 empty] | 591
163 | [7 empty] | 592
164 | [7 empty] | 566
165 | [7 empty] | 42
166
167 | [7 empty] | 418
168 | [7 empty] | 547
169 | [7 empty] | 547
170 | [7 empty] | 522
171 | [7 empty] | 316
172 | [7 empty] | 620
173 | [7 empty] | 342
174 | [7 empty] | 374
175 | [7 empty] | 403
小 計
176 | [7 empty] | 527
177 | [7 empty] | 555
178 | [7 empty] | 761
179 | [7 empty] | 1059
180
181 | [7 empty] | 228
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
小 計
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
小 計
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
小 計
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
小 計
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300 |  |  | #REF! | #REF!
小 計
301 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
302 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
303 | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF!
304 | #REF! | #REF! |  |  |  |  | #REF! | #REF!
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
計
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
計
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
計
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393
394
395
396
397
398
399
400
計
401
402
403
404
405
406
407
408
409
410
411
412
413
414
415
416
417
418
419
420
421
422
423
424
425
（税抜）